| OBJECTIVE | To provide a standardized process for Lot Owners to apply for a water service connection and to ensure that the installation of meters and piping adheres to BHBI technical standards using the site’s Deepwell and Water Tank system. |
| --- | --- |
| SCOPE | This procedure covers the application, payment, material preparation, and physical installation of water meters and service lines for residential lots within the Eastwest Breeze Leisure Farm project. |

Responsibilities

- Office Engineer (OE): Responsible for receiving applications, verifying lot ownership, and issuing the Payment Slip.

- Site Engineer (SE): Responsible for scheduling the installation, inspecting the connection point, and preparing the Material Withdrawal Slip for the connection kit.

- Plumber / Site Worker: Responsible for the physical tapping of the main line and installation of the NWRB calibrated meter.

- Project Engineer (PE): Responsible for final inspection and "As-Built" documentation to ensure the connection is recorded on the site utility map.

PROCEDURE

4.1. Application and Payment

- Submission: The Lot Owner submits a "Water Connection Request Form" to the Office Engineer.

- Verification: The OE verifies that the lot is ready for connection and is within the service area of the project's Deepwell/Water Tank system.

- Payment: The admin issues a payment instruction for the Connection Fee of ₱3,500.00.

  - Note: This fee covers labor, piping materials, and the NWRB calibrated water meter.

- Acknowledgment: Once payment is confirmed, the OE forwards the approved application to the Site Engineer for scheduling.

4.2. Material Preparation

- The admin prepares the standard "Connection Kit" which includes:

  - One (1) NWRB Calibrated Water Meter.

  - Required length of HDPE or blue PPR pipes.

  - Fittings (Elbows, Tee, Male/Female Adaptors, and Ball Valve).

  - Teflon tape and sealant.

- The SE must cross-reference this with the Material Management Procedure to ensure inventory levels are maintained.

4.3. Installation Process

- Marking: The site engineer and Plumber locate the tapping point on the main water line fronting the specific lot.

- Tapping: The main line is tapped using a Service Saddle Clamp.

- Meter Setting: The NWRB Calibrated Meter must be installed in a visible, accessible area near the lot boundary for easy monthly reading.

- Testing: The system is pressurized to check for leaks at the joints.

4.4. Documentation and Handover

- Reading: The Plumber records the "Initial Reading" (usually 0000) on the installation report.

- Final Sign-off: The SE and the Lot Owner (or representative) sign the Completion Report.

- As-Built: The OE updates the Project Master Plan to show that the specific lot is now "Active" for water billing.

5. TECHNICAL SPECIFICATIONS

- Source: Project Deepwell & Elevated Water Tank.

- Meter Type: NWRB Calibrated (Standard Residential Size).

- Connection Fee: ₱3,500.00 (Inclusive of all materials and labor).

| Prepared by: Marcone John Perea Office Engineer | Reviewed by: Rhenz Dela Cruz Project Engineer | Approved by: Nemesia P. Baylon Development Director | Noted by: Adrian Carlo Escay President & CEO |
| --- | --- | --- | --- |